## Sheet1
Item | Description | model/Serial | Quantity | Condition | Availability | Location | Cost
1 | Accutech field unit battery pack 1D cell | TBUM 297900 | 3 | new | Available | Dallas, Tx | 0
2 | Oleumtech transmitter battery pack | SX1000-BP3 | 8 | New | Available | Dallas, Tx | 0
3 | Schneider Electric Accutech Wireless Gauge Pressure Field Unit | TBUAGPTJ1N00S5K0A | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
4 | Schneider Electric Accutech Wireless RTD Temperature Field Unit | TBUARTTJ1N00S1B040 | 1 | Used in a lab coupl of times | Available | Dallas, Tx | 1200
5 | Schneider Electric Accutech Wireless Analog Input (AI) Field Unit. | TBUATMTJ1N00A01CA | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
6 | Schneider Electric Accutech Wireless Float Level Field Unit | TBUAFLTJ4N00A | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
7 | Accutech Wireless Base Radio with Modbus communication | WS-BR-I-XP-MOD | 1 | May need service | Available | Dallas, Tx | 0
8 | Schneider Electric / Accutech Wireless Base Radio | WI-BR-I-XP | 1 | New | Available | Dallas, Tx | 1200
9 | Schneider Electric Accutech BR20 Wireless Base Radio | TBUABR20-1000 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
10 | OleumTech OTC Wireless Analog/Discrete Transmitter. | WT-0900-AD1 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
11 | OleumTech OTC Wireless Flow Totalizer Transmitter. | WT-0900-FT1 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
12 | OleumTech OTC Wireless Analog/Discrete Transmitter. | WT-0900-AD1 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
13 | OleumTech IO MAX® Wireless Multi-I/O Transmitter. | WT-0900-MX1 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
14 | OleumTech OTC Wireless Flow Totalizer Transmitter. | WT-0900-FT1 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
15 | OleumTech OTC Wireless Flow Totalizer Transmitter. | WT-0900-FT1 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
16 | OleumTech OTC Wireless Flow Totalizer Transmitter. | WT-0900-FT1 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
17 | OleumTech OTC Wireless RTD Temperature Transmitter | WT-0900-RT2 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
18 | OleumTech OTC Wireless RTD Temperature Transmitter | WT-0900-RT1 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
19 | OleumTech OTC Wireless Analog/Discrete Transmitter. | WT-0900-AD1 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
20 | OleumTech OTC Wireless Analog/Discrete Transmitter. | WT-0900-AD1 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
21 | OleumTech OTC Wireless Magnetostrictive Level Transmitter | WT-0900-LL1 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
22 | OleumTech DH3 Wireless Gateway | WG-0900-DH3 | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
23 | OleumTech Local HMI Display | WX-1000-LCD | 1 | used in a lab couple of times | Available | Dallas, Tx | 1200
24 | NuFlo™ / Cameron (now Sensia) Weatherproof Flow Analyzer (flow totalizer) | MC-III WP | 1 | used in a lab couple of times | Available | Dallas, Tx | 1500
25 | 5 pin cable with hard cover | Weatherford | 300 ft | New condition | Available | Dallas, Tx | 500
26 | 3 pin cable | Weatherford | 100 ft | good condition | Available | Dallas, Tx | 100
27 | explosion-proof pressure transmitter | WIKA E-10 | 1 | New | Available | Dallas, Tx | 150
28 | Heavy Duty extension Cord |  | 50 ft | Good condition | Available | Dallas, Tx | 100
29 | coaxial RF surge protector (lightning arrestor) | Polyphaser TSX-NFF | 1 | New | Available | Dallas, Tx | 50
30 | power source with communications for 5 pin cable (232 converter) | PS 100 | 2 | Good condition | Available | Dallas, Tx | 200
31 | Foxboro (Schneider Electric) IMV25 Multivariable Pressure Transmitter, differential pressure (DP) | transmitter with level measurement capability | 1 | good condition | Available | Dallas, Tx | 200
32 | HART Communication Server / HART-to-Modbus RS-485 Gateway module | HCS/HART/MB485/9-30DC | 1 | Good condition | Available | Dallas, Tx | 50
33 | Universal AC Input Switching Power Supply | GM PSD1000 | 1 | Good condition | Available | Dallas, Tx | 50
34 | G.M. International (GM International) single-channel intrinsically safe digital input barrier / relay interface module | GM D1061S | 1 | Good condition | Available | Dallas, Tx | 50
35 | G.M. International single-channel intrinsically safe digital input interface module. | GM D1060S | 1 | Good Condition | Available | Dallas, Tx | 50
36 | G.M. International intrinsically safe analog input repeater / transmitter interface module | GM D5072D | 3 | Good condition | Available | Dallas, Tx | 150
37 | B+B SmartWorx (Advantech) Spectre™ LTE Cellular Router with Wi-Fi capability. | RTLTE-310-W-AT | 1 | Good Condition | Available | Dallas, Tx | 50
38 | Phoenix Contact MINI-PS-100-240AC/10-15DC/2 | Phoenix Contact | 2 | Good condition | Available | Dallas, Tx | 100
39 | G.M. International (GMI) intrinsically safe SIL 2 digital output driver / isolator | GM D5240T | 2 | good condition | Available | Dallas, Tx | 100
40 | G.M. International universal AC input switching power supply with a 24 VDC output, | PSD 1000/B | 1 | Good condition | Available | Dallas, Tx | 50
41 | Remote Process I/O system from MTL (now Eaton MTL) | MTL 8000 8521 | 1 | Good condition | Available | Dallas, Tx | 50
42 | Siemens LOGO! 8 series programmable logic controller (PLC) / logic module | Siemens LOGO! A5E33039837-AB | 1 | New | Available | Dallas, Tx | 150
43 | industrial 4-port Modbus Ethernet-to-Serial Gateway | B&B electronics MESR424T | 1 | new | Available | Dallas, Tx | 50

## Pictures
Lab test